# Enhanced Detection of Age-Related and Cognitive Declines Using Automated Hippocampal-to-Ventricle Ratio in Alzheimer's Patients

Hippocampal-to-ventricle ratio validation

Sofia Fernandez-Lozanoa,b, 	sofia.fernandezlozano@mail.mcgill.ca
Vladimir Fonova,b, 		vladimir.fonov@mcgill.ca
Dorothee Schoemakerc, 	dorothee.schoemaker@gmail.com
Jens Pruessnerd, 		jens.pruessner@uni-konstanz.de
Olivier Potvine, 		olivier.potvin@criucpq.ulaval.ca
Simon Duchesnee,f, 		simon.duchesne@fmed.ulaval.ca
*D. Louis Collinsa,b,g, 		louis.collins@mcgill.ca
for the Alzheimer’s Disease Neuroimaging Initiative‡

aMcConnell Brain Imaging Centre, Montreal Neurological Institute, McGill University, Montreal, Quebec, Canada.
bDepartment of Neurology and Neurosurgery, McGill University, Montreal, Quebec, Canada.
cDepartment of Psychology, McGill University, Montreal, Quebec, Canada.
dDepartment of Psychology, University of Konstanz, Konstanz, Germany.
eQuebec Heart and Lung Research Institute, Quebec City, Quebec, Canada.
fRadiology and Nuclear medicine Department, Université Laval, Quebec City, Quebec, Canada.
gDepartment of Biomedical Engineering, McGill University, Montreal, Quebec, Canada.
‡Data used in preparation of this article were obtained from the Alzheimer’s Disease Neuroimaging Initiative (ADNI) database (adni.loni.usc.edu). As such, the investigators within the ADNI contributed to the design and implementation of ADNI and/or provided data but did not participate in analysis or writing of this report. A complete listing of ADNI investigators can be found at: 
http://adni.loni.usc.edu/wp-content/uploads/how_to_apply/ADNI_Acknowledgement_List.pdf

*Corresponding author.

# Authorship:

- Sofia Fernandez-Lozano: Conceptualization, Methodology, Software, Investigation, Writing – Original Draft, Visualization.

- Vladimir Fonov: Software, Data Curation.

- Dorothee Schoemaker: Resources, Writing – Review & Editing.

- Jens Pruessner: Resources, Writing – Review & Editing.

- Olivier Potvin: Resources, Writing – Review & Editing.

- Simon Duchesne: Resources, Writing – Review & Editing.

- D. Louis Collins: Conceptualization, Writing – Review & Editing, Supervision.

# Abstract

Background: The hippocampal-to-ventricle ratio (HVR) is a biomarker of medial temporal atrophy, particularly useful in the assessment of neurodegeneration in diseases such as Alzheimer’s disease (AD). To minimize subjectivity and inter-rater variability, an automated, accurate, precise, and reliable segmentation technique for the hippocampus (HC) and surrounding cerebro-spinal fluid (CSF) filled spaces — such as the temporal horns of the lateral ventricles — is essential.

Methods: We trained and evaluated three automated methods for the segmentation of both HC and CSF (Multi-Atlas Label Fusion (MALF), Nonlinear Patch-Based Segmentation (NLPB), and a Convolutional Neural Network (CNN)). We then evaluated these methods, including the widely used FreeSurfer technique, using baseline T1w MRIs of 1,641 participants from the AD Neuroimaging Initiative study with various degree of atrophy associated with their cognitive status on the spectrum from cognitively healthy to clinically probable AD. Our gold standard consisted in manual segmentation of HC and CSF from 80 cognitively healthy individuals. We calculated HC volumes and HVR and compared all methods in terms of segmentation reliability, similarity across methods, sensitivity in detecting between-group differences and associations with age, scores of the learning subtest of the Rey Auditory Verbal Learning Test (RAVLT) and the Alzheimer’s Disease Assessment Scale 13 (ADAS13) scores.

Results: Cross validation demonstrated that the CNN method yielded more accurate HC and CSF segmentations when compared to MALF and NLPB, demonstrating higher volumetric overlap (Dice Kappa = 0.94) and correlation (rho = 0.99) with the manual labels. It was also the most reliable method in clinical data application, showing minimal failures. Our comparisons yielded high correlations between FreeSurfer, CNN and NLPB volumetric values. HVR yielded higher control:AD effect sizes than HC volumes among all segmentation methods, reinforcing the significance of HVR in clinical distinction.

Associations: The positive association with age was significantly stronger for HVR compared to HC volumes on all methods except FreeSurfer. Memory associations with HC volumes or HVR were only significant for individuals with mild cognitive impairment. Finally, the HC volumes and HVR showed comparable negative associations with ADAS13, particularly in the mild cognitive impairment cohort.

Conclusion: This study provides an evaluation of automated segmentation methods centered to estimate HVR, emphasizing the superior performance of a CNN-based algorithm. The findings underscore the pivotal role of accurate segmentation in HVR calculations for precise clinical applications, contributing valuable insights into medial temporal lobe atrophy in neurodegenerative disorders, especially AD.

# Keywords

MRI, Hippocampus, Alzheimer’s Disease, Automatic segmentation, Memory, Cognitive decline.

# Abbreviations

AD: Alzheimer’s disease. ADAS13: Alzheimer’s disease assessment scale 13. ADNI: Alzheimer’s disease neuroimaging initiative. CI: confidence interval. CH: cognitively healthy. CSF: cerebro-spinal fluid. CSFvol: perihippocampal ventricular space. CNN: convolutional neural network. FS: FreeSurfer. HC: hippocampus. HCvol: hippocampal volume. HVR: hippocampal-to-ventricle ratio. MALF: multi-atlas label fusion. MCI: mild cognitive impairment. MRI: magnetic resonance imaging. NLPB: non-local patch-based. RAVLT: Rey auditory verbal learning test.

# Introduction

The hippocampus (HC) is a medial temporal lobe structure located medially to the lateral horn of the lateral ventricles, posterior to the amygdala, and superior to the parahippocampal gyrus. Integral to the limbic system, the HC plays an important role in cognition, more specifically for declarative and semantic memory.1 It is further implicated in a number of psychiatric disorders such as depression,2,3 schizophrenia,4 and addiction,5 as well as neurological diseases such as Alzheimer’s disease (AD),6 Parkinson’s disease,7 multiple sclerosis,8 or temporal lobe epilepsy.9

The HC is affected by normal and pathological effects related to aging. Its atrophy, measured by structural MRI, is one of the best documented pathological features in AD.6 The yearly rate of hippocampal volume reduction is reported as 1.4% in healthy populations and up to 4.7% in dementia due to AD.10 This disparity in the rate of atrophy between cognitively healthy controls, individuals with mild cognitive impairment (MCI), a prodromal stage of AD, or patients with AD has been widely reported in other cross-sectional and longitudinal studies.11–13 The rate of HC atrophy may even help to distinguish patients with cognitive impairment who progress to dementia from those who do not.14,15

Although manual segmentation is considered the gold-standard in the volumetric assessment of the HC, it suffers from several drawbacks that impede its practical application in large datasets. Despite the availability of software tools with semi-automated guidance and/or 3D visualization, manual segmentation of the HC is a laborious and time-consuming task that can take up to two hours per subject.16 It is affected by high intra- and inter-rater variability, even in experts.17 As a response to these limitations, several automated segmentation methods have been proposed; for reviews see.17,18

The most common methods are based on label propagation, or segmentation using one or multiple templates, given their efficacy and accuracy. In a performance comparison done by Zandifar et al.15 on four different methods (ANIMAL with template library and label fusion,19 nonlocal patch-based segmentation with expert priors,14,20 and FreeSurfer v5.3,21 the nonlocal patch-based method was shown as being the most accurate, based on overlap statistics with manually labeled ground truth data.

The explosive development of deep learning has led to new methods and strategies for segmentation. Amongst the most successful, the U-net22 is a Convolutional Neural Network (CNN) with a U-shape network structure as its name indicates. It is characterized by a contraction path that captures context information while down-sampling the image and an expansion path that allows precise positioning on which image up-sampling and feature map fusion are repeated. It has shown to segment HC with Dice scores ranging between 0.89 and 0.92.18

Even if one had access to the most accurate segmentation method, volumetric studies of the HC show limitations due to the structure’s high inter-subject variability in shape and volume, even in cognitively healthy populations.23,24 For this reason, researchers have explored different strategies to improve the reliability and robustness of the diagnostic or prognostic impact of HC volumetry. One such strategy is to normalize HC volume with the volume of the cerebrum. Using the HC/cerebrum ratio, investigators were able to successfully identify different AD subtypes based on the spatial distribution of tau pathology, as well as predict faster cognitive decline.25,26

In addition to cortical atrophy, ventricular expansion is commonly present in neurodegenerative disorders, in particular in MCI and AD.27–31 Leveraging the idea of ex-vacuo dilation, the HC occupancy is a single biomarker of medial temporal atrophy consisting of the ratio of the volume of the HC to the sum of the volumes of the HC and inferior lateral ventricle.32 The median survival times in relation to conversion from MCI to AD were found to be significantly shorter for those subjects at risk due to atrophy measured by low HC occupancy than those at risk from any other measure or combination of measures from learning performance, CSF tau, amyloid and tau/amyloid ratio.

The HC-to-ventricle ratio (HVR) as an extension of the original idea of a ratio combining in a single metric the estimation of HC volume with the surrounding ventricular enlargement in a similar manner to HC occupancy, but instead using the complete lateral horn of the ventricle 16. When calculated in two cohorts of cognitively normal aging adults, the HVR showed stronger relationships to age and delayed memory than the raw hippocampal volumetric measure.

The goal of this paper was to apply and compare available automatic segmentation techniques to automate HVR estimation,16,33 explore potential variations introduced by the different segmentation methods, and then to use this automatic method to replicate and extend the earlier findings in a larger sample of AD, MCI and cognitively healthy individuals.

# Materials and methods

## Data

The data used in the preparation of this article was obtained from the Alzheimer’s Disease Neuroimaging Initiative (ADNI) database (https://adni.loni.usc.edu). ADNI was launched in 2003 as a public-private partnership, led by Principal Investigator Michael W. Weiner, MD. The primary goal of ADNI has been to test whether serial magnetic resonance imaging (MRI), positron emission tomography, other biological markers, and clinical and neuropsychological assessment can be combined to measure the progression of MCI and early AD. Specifically for this study, we used baseline 3D T1w MRIs from the ADNI-1, ADNI-2, and ADNI-GO cohorts.

Training of the segmentation algorithms was done using manual HC labels and the surrounding temporal horns of the lateral ventricles (N = 80). This data and the manual segmentation protocol are identical to those described in Schoemaker et al.16,19 The labels were segmented by trained neuroanatomical experts and are considered as the ground-truth for HC volumes (HCvol) and perihippocampal ventricular space (CSFvol).

We used an out-of-sample validation dataset consisting of a subset of 60 manually segmented left and right hippocampi from 60 subjects from ADNI; 20 from each disease category: cognitively healthy (CH), MCI and AD. These manual segmentations were performed using the same protocol as the training labels.19

Demographic, memory, and cognitive data for the included subjects were downloaded from the ADNI website. To assess memory, we used the scores from the Learning subtest of the Rey Auditory Verbal Learning Test (RAVLT). As a measure of global cognitive function, we used scores from the AD Assessment Scale-13 (ADAS-13).

## Image preprocessing

Preprocessing consisted of denoising,34 N3 image intensity inhomogeneity correction,35 linear intensity normalization based on histogram matching between the image and the average template, and affine registration to a stereotaxic space defined as a population-specific template created from the ADNI-1 cohort.36

## Automated segmentation methods

We trained three automatic segmentations methods described below using the HC and CSF manual labels. Additionally, we compared our trained methods with the output given by different versions of FreeSurfer with its preprocessing and processing pipelines.21

### Multi-Atlas Label Fusion

The first segmentation method consisted of a multi-atlas label fusion (MALF) approach. Using an augmented ANIMAL segmentation method,37,38 this algorithm is enhanced with the use of a template library and label fusion.19 Training consisted in a Monte Carlo Cross-Validation strategy39, that is, for every potential segmentation a template library was built from a random subset of the manual labels (n=64).

### Nonlinear Patch-Based Segmentation

The second segmentation method was the Nonlinear Patch-Based Segmentation (NLPB) with a population-specific template.14,20,40 Similar to MALF, this algorithm was trained using Monte Carlo Cross-Validation where a template library was created from a random subset of the manual labels (n=64). Additionally, manual labels were non-linearly aligned to a template space constructed from the ADNI-1 database.36

### Convolutional Neural Network

Lastly, we trained a deep learning CNN based on a 3D version of the U-Net architecture.22 It uses a combination of the Dice kappa overlap and a multi-label Hausdorff-like distance approximation as loss function. Further details were reported previously.41 To train the network, we used a 5-Fold cross validation strategy (i.e., split the data into a training set of 64 images with their manual labels and a validation set consisting of the remaining unlabeled 16 images). The training data was augmented with geometric transformations, random signal shift, amplification, and addition of voxel-level additive noise by a factor of 16 before training the network for 200 epochs for each cross-validation split.

### FreeSurfer

We compared the output of our trained segmentations with those obtained from FreeSurfer (https://surfer.nmr.mgh.harvard.edu). First, we used the values of HCvol from UCSF from either version 4.3 (N=545) or version 5.1 (N=701) of the cross-sectional FreeSurfer pipeline reported by ADNI on the files UCSFFSX_11_02_15.csv and UCSFFSX41_11_08_19.csv respectively, and our own results using cross-sectional FreeSurfer pipeline version 6.0 with default parameters. Since ADNI does not report inferior lateral ventricle volumes for the earlier FreeSurfer results, we calculated HVR using only FreeSurfer version 6.0.

## Hippocampal measures

Using the output from the automatic segmentations we obtained HCvol and calculated HVR for each of the different methods. HVR was calculated using HCvol and CSFvol:

HVR=HCvolHCvol + CSFvol,

When calculating HVR using the FreeSurfer volumes, CSFvol was defined as the volume of the inferior lateral ventricle. For both HCvol and HVR, we use the mean of both sides in all our analyses.

We also normalized HCvol by head size for each technique, using the same volumetric scale factor obtained from the affine registration to stereotaxic space.

## Segmentation performance assessment

### Cross-validation

After training the automatic segmentation methods using manual labels, we assessed their performance segmenting the HC and surrounding temporal horns of the lateral ventricles. The measures of performance were: 1) volumetric overlap between segmentations from the automatic methods and the manual segmentation calculated using Dice Coefficient, Cohen’s Kappa, accuracy, sensitivity and specificity , and 2) Spearman’s rank correlation coefficients between computed volumes from the automatic methods and volumes from the manual segmentations. Note Spearman’s rank correlation was used because the volume data was not Gaussian distributed, evidenced by a significant Shapiro-Wilk test.

We compared the difference in overlap with manual labels for each side across all segmentation methods using a robust repeated-measures two-way ANOVA with trimmed means.42 We then performed post hoc tests on the trimmed means using the linear contact expression42,43 P-values from both the ANOVA and pairwise comparisons were further adjusted for False Discovery Rate (FDR)—across HCvol, HVR, and each of the five performance metrics—using the Benjamini & Hochberg procedure.44

### Out-of-sample validation

Additionaly, we furthered assessed our CNN segmentation of the HC on an out-of-sample dataset of 60 manually segmented MRI of ADNI comprising the three clinical groups (CH, MCI, and AD). The measures of performance were the same as for the Cross-validation described above. We compared the difference in overlap with manual labels between groups for both sides using a robust mixed two-way ANOVA with trimmed means.42 P-values were further adjusted for FDR for each of the five performance metrics using the Benjamini & Hochberg procedure.44

### The NLPB and MALF segmentations have already been validated on their respective presenting manuscripts and thus were not included in the validation.

### Application on clinical data

We evaluated the different automatic segmentation techniques by applying them to the baseline data from ADNI. The first comparison was the percentage of failure for the different methods. An expert visually inspected the output of the trained automatic methods and discarded any segmentation that did not pass quality control. For the HC volumes from FreeSurfer versions 4.3 & 5.1, we assumed failure for any missing value on the UCSF volumes files reported by ADNI.

We then compared the different methods by evaluating for both HCvol and HVR: 1) the similarity across segmentations, and 2) the sensitivity of the different methods in detecting between-group differences. To measure the similarity between methods we used the Spearman's rank correlation coefficient between the computed hippocampal measures—stratified by clinical label. For the sensitivity comparison, we computed the standardized effect size estimates and their robust confidence intervals (CIs) of the difference between the hippocampal measures between the patients with dementia and the cognitively normal subjects. We used Glass’ 𝛥, where the comparison of the means is standardized only by the control’s group standard deviation:

Δ=MAD-MCNσCN.

The CIs were calculated using the bias-corrected-and-accelerated bootstrap method45 with the default setting of 2,000 resamples.

## Associations of hippocampal volumetrics with age, memory, and global cognition

We also measured the associations of the HCvol and HVR obtained from the automatic segmentation methods with age, memory and global cognition using Spearman’s rank correlation coefficients, given the non-Gaussian distribution of the data. To test the hypothesis that HVR would better associate with these covariates than HCvol, we used single-tailed permutation tests on the difference between the correlation coefficients of these two hippocampal measures. These tests were conducted independently for each segmentation method (MALF, NLPN, CNN, and FreeSurfer v6.0), stratified by clinical group (CH, MCI, and AD), and separately for each covariate (age, memory, and global cognition). Additionaly, we performed a cross-method comparison of HVR calculated with our trained CNN and FreeSurfer. The permutation tests were run with 10,000 repetitions each. The p-values for the correlations and the permutation tests were adjusted for FDR using the Benjamini & Hochberg procedure.44

## Statistical analyses and code availability

All of the statistical analyses were done using R version 4.2.2. We used the WRS2 package43 for the robust ANOVA and post hoc analyses and the BootES package46 to calculate the effect size estimates and their CIs. All code required to reproduce the analyses is available on GitHub: https://github.com/soffiafdz/hvr_validation.

To facilitate adoption, we developed a Docker container for the CNN-based segmentation model. The toolbox, along with a detailed tutorial and example code, enabling researchers to replicate our methodology and compute HVR in their datasets, is accessible at: https://hub.docker.com/repository/docker/soffiafdz/hvr_cnn.

# Results

Our sample consisted of 1,641 participants in ADNI-1, ADNI-Go and ADNI 2: 501 CH participants , 819 individuals with MCI and 321 patients with clinically probable AD. All demographic and clinical measures were significantly different among the three groups (Table 1). The Chi-squared test showed significant differences of sex for the CH (p = 0.002) and MCI (p = 0.004) groups, but not for AD (p = 1). The post-hoc analysis using Dunn’s test showed that participants in the MCI group were significantly younger than those of the CH group (Z = 2.6, p = 0.014) and the AD group (Z = 4.03, p < 0.001). However, the age difference between the CH and AD groups was non-significant (Z = 1.65, p = 0.15). The CH group also appeared to be on average slightly more educated compared to both the MCI group (Z = 2.64, p = 0.012), and the AD group (Z = -5.59, p < 0.001). The difference between the MCI and AD groups was also significant (Z = -3.8, p < 0.001).

## Training of the automatic segmentation methods

We trained three automatic segmentation methods—MALF, NLPB, and CNN—using a set of manually segmented labels of HC and CSF. Figure 1 presents the results of this training as violin plots of the volumetric overlap with the manual labels and one example subject’s manual and computed labels from all three methods. Accuracy and specificty for both HC and CSF segmentations approached 1.0 across all methods and are therefore not included in the figure. The median and standard deviation values for all five segmentation performance metrics (accuracy, Dice coefficient, Cohen’s kappa, sensitivity and specificity for bilateral HC and CSF are reported in Table S1 in the supplementary materials. The robust repeated-measures two-way ANOVA revealed significant differences between the segmentation methods across all five performance metrics (Table S2). Pairwise comparisons showed laterality effects in HC segmentation only for MALF (kappa and sensitivity, both FDR-adjusted p = 0.009). In contrast, significant side differences were observed on all three methods for ventricular segmentation: Dice coefficient differences were significant on all methods (FDR-adjusted p ≤ 0.001); kappa and sensitivity differences were also significant for NLPB and CNN (FDR-adjusted p < 0.05). Robust effect-sizes (ψ), 95% confidence intervals and FDR-adjusted p-values are reported in Table S3.

Across pairwise comparisons, CNN significantly outperformed both MALF and NLPB across all five segmentation performance metrics for both HC and CSF. Differences were especially pronounced for Dice coefficient, Cohen’s kappa, and sensitivity with robust effect sizes (ψ) consistently exceeding 0.04 for the HC and 0.15 for CSF (all, FDR-adjusted p < 0.001). While MALF outperformed NLPB in some of the HC metrics (kappa and sensitivity, ψ ≈ 0.01, FDR-adjusted p ≤ 0.001), the differences were inconsistent for CSF (Tables S4 & S5).

Figure 2 shows correlations between volumes obtained from the original manual labels and those from computed segmentations. All associations were significant (FDR-adjusted p < 0.001). The Spearman’s rho values for the CNN method were almost 1 (ρ ≈ 0.98) for both HCvol and CSFvol on both left and right sides. While the correlations were lower for NLPB, they still showed strong associations with the manual labels (HCvol, ρ = 0.90; CSFvol, ρ = 0.79). MALF showed the lowest correlations among the three methods (HCvol, ρ = 0.86; CSFvol, ρ = 0.57).

The Bland-Altman plots in Fig. 3 show that in addition to having larger error, MALF had a systematic bias of over-segmenting smaller HC and under-segmenting the larger HC. While NLPB had a moderate variance in error, we did not find a significant pattern of bias in its segmentations. All three methods tended to underestimate CSFvol on average, with MALF also showing a bias of under-segmenting larger ventricles compared to the smaller ones.

## Out-of-sample validation

Out-of-sample validation on 60 manually segmented MRIs from the ADNI dataset confirmed the robustness of the CNN segmentation for the HC. Descriptive results (Table S6) show that the CNN maintained high segmentation performance across all clinical groups, with Dice coefficients and kappa values comparable to those observed in the training and cross-validation data for NLPB and MALF segmentations (Table S1).

Visual inspection of the violin plots (Figure S1) shows consistency among the clinical groups and suggests a laterality effect on the segmentation particularly for the MCI and AD groups. This side difference resulted significant in the robust two-way mixed ANOVA for kappa, F (1, 25.03) = 8.48, and sensitivity, F (1, 25.12) = 8.47; both FDR-adjusted p = 0.37. Neither clinical group nor the interaction between group and clinical label were significant (Table S7).

The strength of the association between Hcvol computed from the CNN-based segmentation and the manually segmented was consistent across the clinical groups, with Spearman’s rank correlation coefficients high in all groups, ranging from ρ = 0.94 in AD and CH to ρ = 0.96 in MCI (Fig. S2). When stratified by hemisphere, correlations were slightly lower on the right HC of AD subjects (ρ = 0.90) compared to the left (ρ = 0.96). This difference was consistent, although slightly weaker in the MCI group (ρ = 0.93 vs. ρ = 0.96), but not in the healthy cohort (ρ ≈ 0.94).

Bland-Altman plots for HCvol segmented on the three cohorts of the ADNI out-of-sample dataset are presented in Figure S3. Mean differences were close to zero in all groups (CH: 0.04, MCI: –0.04, AD: –0.02), with relatively narrow limits of agreement.

## Application on clinical data

We applied the three trained automatic segmentation methods and compared them to the values obtained using the widely used FreeSurfer labels. On Table 2 we report the number of successful HC segmentations for the different methods and the mean HCvol and HVR for each of the clinical groups.

The method with the least successful segmentations was FreeSurfer v4.3/v5.1, with ADNI reporting the HC values for only 86% of the data. FreeSurfer v6.0 and MALF had a similar number of successful segmentations (98.5%), nonetheless MALF tended to fail more on AD and MCI participants while FreeSurfer’s errors were equally distributed between all groups. From all methods, CNN was the most reliable, failing on only two cases (one MCI and one AD).

The comparisons between segmentation methods in terms of volumetric correlation and effect size between CH individuals and patients with AD are presented in Fig. 4. HC volumes obtained from the FreeSurfer, CNN and NLPB segmentations were all highly correlated with each other (ρ > 0.9, p < 0.001), with the FreeSurfer versions being the most similar between each other (ρ = 0.99). The correlations coefficients for MALF, the least similar method, ranged between 0.67-0.78. Even after stratifying the comparisons by clinical groups, we still found high similarity between FreeSurfer versions and CNN (ρ > 0.97, between FreeSurfer versions; ρ > 0.91, CNN & FreeSurfer). Across all methods, the lowest correlation coefficients were found on the AD group (ρ = 0.4 – 0.98).

Effect sizes calculated using Glass’ delta follow the conventional interpretation of Cohen’s d small, medium, and large effect sizes defined as d < 0.5, 0.5 < d < 0.8, and d > 0.8, respectively. We found large effect sizes on the HCvol difference between CH and AD groups for all segmentation methods except MALF. The methods, from worst to best, were MALF (Δ = -0.78), NLPB (Δ = -1.54), FreeSurfer (Δ = -1.76 – -1.78), and CNN (Δ = -1.85). Comparing the CH:AD effect sizes between the segmentation methods, the only significant differences (based on the calculated confidence intervals) were observed on the ones from MALF which were lower compared to the other three automatic methods.

Using the values for HCvol and CSFvol, we calculated the HVR for all segmentation methods; the mean and standard deviation for the HVR values by clinical group are given in Table 2. HVR values were larger for the FreeSurfer-based estimates. The correlations between methods and the comparison of effect sizes between CH and AD are presented in Fig. 5. The similarity across methods was higher for HVR (compared to HCvol) with the correlation coefficients ranging from 0.89 (MALF & FreeSurfer) to 0.97 (CNN & FreeSurfer). As with HCvol, the lower correlations were found on the AD group (ρ = 0.77 – 0.97). All four segmentation methods had large effect sizes between CH and AD when using HVR. The magnitudes of the effect size from HVR were larger than those calculated with HCvol, nonetheless, the HVR vs HCvol difference in effect size only reached significance for MALF. Ordered from lowest to highest value, the methods were MALF (Δ = -1.24), NLPB (Δ =-1.73), CNN (Δ = -1.86), and FreeSurfer (Δ = -2.02). The effect size obtained with MALF was significantly lower than the other methods. None of the other differences across methods were significant.

## Associations of hippocampal volumetrics with age, memory, and global cognition

The correlation coefficients between HCvol with age, the subscores of learning from RAVLT and the scores of ADAS13 for all four segmentation methods are presented in Figure 6.  The correlation coefficients for HVR are presented as well. All correlations and comparisons were corrected for multiple comparisons. We found a significant positive association (p < 0.001) between HCvol and Age across all clinical groups for FreeSurfer (N = 1,589), CNN (1,612), and NLPB (N = 1,600); for MALF (1,590), the correlation was significant only on the CH (p = 0.002) and MCI groups (p < 0.001). The association between HVR and age was significant for all groups and methods (p < 0.001). The correlations of age with HVR were higher compared to correlations with HCvol. This difference was significant on the CH and MCI cohorts for the CNN (CH, ρ: -0.4 vs -0.53, p = 0.012; MCI, rho: -0.46 vs -0.57, p = 0.01; Figs. 4 and S4) and NLPB (CH, ρ: -0.34 vs -0.49, p = 0.006; MCI, ρ: -0.39 vs -0.54, p = 0.001; Figs. 4 and S5), and all clinical groups of MALF (CH, ρ: -0.19 vs -0.5; MCI, ρ: -0.2 vs -0.52; AD, ρ: -0.03 vs -0.38; all p < 0.001; Figs. 4 and S6). The HCvol and HVR performance difference was not found on FreeSurfer (Figs. 4 and S7).

There was a positive association with the RAVLT learning subscore on both HCvol and HVR with all four methods, but this association was significant only for the MCI cohort (HCvol: 0.24 – 0.37; HVR: 0.25 – 0.31; p < 0.001; Fig. 4). The association between HVR and memory was significantly stronger than the one with HCvol only for the MALF segmentation and the AD group (Figs. 4 and S4).

We noted a negative association between both HCvol and HVR with the ADAS13 scores across groups (Fig. 4). The correlations of HCvol with cognitive decline were significant in the CH group segmented with FreeSurfer (ρ = -0.22, p < 0.001), CNN (ρ = -0.22, p < 0.001) and NLPB (ρ = -0.2, p <0.001), but not MALF (ρ = -0.1, p = 1); and the MCI group on all four methods (FreeSurfer: ρ = -0.48; CNN: ρ = -0.46; NLPB: ρ = -0.43; and MALF: ρ = -0.25; p < 0.001). For the AD group, the only significant correlations between HCvol and ADAS13 were found on the FreeSurfer (ρ = -0.22, p = 0.01) and CNN methods (ρ = -0.22, p = 0.01). The association between HVR and ADAS13 was significant in all three groups of the four segmentation methods (ρ = -0.21 – -0.44, p < 0.001). The magnitude of these associations was comparable to those of HCvol on all segmentation methods except for MALF. The correlation between ADAS13 and the HVR obtained from the MALF was stronger on all groups (CH, ρ: -0.1 vs -0.21, p = 0.048; MCI, ρ: -0.25 vs -0.37, p = 0.009; AD, ρ: 0.04 vs -0.3, p < 0.001; Fig. S4).

Lastly, no significant differences were observed between the HVR measures obtained from our trained CNN and FreeSurfer v6.0 in their associations with age, memory, or global cognition (Fig. S8).

# Discussion

In this article, our goal was to automate the estimation of the HVR, a robust measure of hippocampal integrity 16, to extend the preliminary evidence of its validity as a measure of hippocampal atrophy in a much larger clinical sample.

To fulfill our goal, we evaluated the viability of various automatic segmentations to calculate the HVR. Ensuring a fair assessment of performance when comparing different automatic segmentation methods is not a trivial task. Segmentation accuracy is affected by several factors, including the quality of the MRI data, the segmentation protocol used for the ground-truth, the particularities of the sample tested, and the metric used to evaluate the performance 19. A practical example of this issue is the use of Dice coefficient as a measurement for segmentation accuracy. Given the metrics dependance on the surface to volume ratio, Dice coefficient measurements are stricter on smaller regions. This can be significant when evaluating the automatic segmentations that comprise the HVR: the hippocampus, a small and highly variable structure,23,24 and the even smaller surrounding ventricular space. To further address this, we evaluated segmentation performance with four other complimentary metrics in addition to Dice coefficient: Cohen’s Kappa, accuracy, sensitivity and specificity.

Despite this inherent drawback, all three of the evaluated locally developed methods could successfully segment the hippocampus with high accuracy, with the CNN (U-Net based) method showing a clear advantage over the other two. Still, the MALF and NLPB segmentations results were comparable to the accuracy reported in their original papers,14,19,20 and even similar to some U-net based methods.47–51 We did not estimate segmentation performance with Freesurfer, as it uses a different anatomical definition for the HC and CSF spaces, or other deep learning-based segmentation techniques in our analysis due to the lack of publicly available pretrained models or reproducible pipelines, particularly those capable of reliably segmenting the ventricles in addition to the hippocampus. Nonetheless, our CNN segmentation results are comparable to state-of-the-art methods reported in the literature and generalize well even when applied to an out-of-sample validation dataset including participants with varying degree of neurodegeneration. For instance, U-Net-based approaches, as reviewed by Yi et al.52 achieved Dice coefficients of 0.89–0.91 for hippocampal segmentation in the ADNI dataset.48,53 Similarly, 3D CNN methods like those by Xie et al.54 and Amoroso et al.55 reported Dice scores of 0.90–0.93. Our CNN achieves a Dice coefficient of 0.96 for both left and right hippocampus, with equally strong performance across additional segmentation metrics, including Cohen’s Kappa, sensitivity and specificity. This high performance was replicated in an out-of-sample validation set spanning cognitively unimpaired, MCI and AD participants, where the CNN maintained high Dice and Kappa values across all groups, with no significant group differences and only minor laterality effects.

Ventricular segmentation is crucial for calculating the Hippocampal-to-Ventricle Ratio (HVR), a core focus of our work. The segmentation of the temporal horn of the lateral ventricle, being a much smaller region with somewhat arbitrary limits in its anterior and posterior borders, was a significantly harder task compared to the extraction of the hippocampus. This difficulty was reflected in the markedly lower Dice coefficients, Kappa and sensitivity scores across all methods, with particularly sharp decline in performance observed for MALF and NLPB segmentations. In contrast, the CNN maintained high segmentation quality with values ranging between 0.87-0.91, and volumetric correlations reaching approximately ρ ≈ 0.98 for HCvol, as well as CSFvol (Fig. 2). In practical terms, CNN also had the lowest failure rate across all methods, with only two segmentations excluded due to quality control. These results highlight the reliability of our CNN approach and its capacity for jointly segment both the hippocampus and the ventricular space, a unique advantage that aligns with our study's emphasis on HVR calculation.

The Bland-Altman plots in Figure 3 confirmed the superior performance of the CNN technique, highlighting minimal errors and no systematic bias. In contrast, both NLPB and MALF exhibited wider limits of error, with MALF displaying a notable regression to the mean pattern—overestimating smaller regions and underestimating larger ones. This systematic bias, previously noted in the literature15, was more pronounced in our pathological sample, likely due to the greater variability introduced by both age-related and AD-related atrophy. While all methods tended to underestimate CSFvol on average, the extent of this bias was particularly marked in MALF, especially for larger ventricular volumes. These findings were consistent with the out-of-sample validation, where CNN showed tight limits of agreement and minimal bias across all groups (Fig. S3). Importantly, we found no significant differences in error magnitude.

However, we did observe minor but statistically significant laterality effects in segmentation performance. For MALF, right-sided hippocampal segmentation showed higher Kappa and Sensitivity scores compared to the left. A similar right-dominant pattern was observed in the out-of-sample validation of CNN, again in Kappa and Sensitivity; although this laterality effect was significant across the full sample, the group:side interaction was not, indicating that the effect was not specific to any clinical subgroup, and thus, not attributable to pathological neurodegeneration causes. Additionally, in the segmentation of the ventricular space, we found significant side defferences in Dice, Kappa, and Sensitivity for both NLPB and CNN, while MALF showed a significant side difference only in Dice. Interestingly, this laterality pattern was reversed for ventricular segmentation, where performance was consistently higher on the left side than the right. This may reflect anatomical or contrast differences between hemispheres in aging and disease, potentially due to asymmetries in ventricular enlargement or registration bias. These consistent laterality effects—especially in sensitivity-related metrics—suggest that segmentation accuracy may be asymmetrically affected by hemisphere, potentially due to anatomical or algorithmical biases, and warrant closer investigation in future work. Together, these results emphasize the importance of selecting robust algorithms, especially in clinical populations, and highlight our CNN-based method ability to maintain accuracy and consistency under conditions where other methods show systematic bias.

When applied to the baseline data of ADNI, the CNN method demonstrated superior reliability amongst all segmentation methods, with less than 0.2% failed segmentations. We found the earliest versions of FreeSurfer to be the least dependable method of our comparisons, given the absence of ~14% of the values for hippocampal volume reported by ADNI. It is important to note that the reported failure rates for these FreeSurfer versions (v.4.3 & v.5.1) from the ADNI database were not explicitly attributed to segmentation pipeline failures but rather to unreported volumes. To address this, we utilized FreeSurfer v.6.0, which showed a lower, but comparable failure rate to other label-fusion methods. Nonetheless, these reliability results using the different FreeSurfer versions align with a recent QC evaluation of the output of FreeSurfer v6.0, on which 5% of the segmentations were manually marked as failures and 20% were marked as having doubtful quality.56 However, we acknowledge that FreeSurfer v.6.0, released in 2017, predates the incorporation of deep learning methodologies. Newer versions may show improved reliability, which should be explored in future studies.

Despite expected improved results from the updated release of FreeSurfer, the hippocampal segmentations were not drastically different as our implementation of v6.0 yielded segmentations that were highly correlated to the UCSF volumes reported by ADNI. For both versions, FreeSurfer tended to yield higher HCvol values compared to the three other methods evaluated. This difference is not surprising. First, the training library used for FreeSurfer was not the same as that of the template library of Schoemaker16 used in our training. Second, the underlying anatomical definition of the hippocampus is different between FreeSurfer and the labels of Schoemaker.16 Additionally, the tendency of FreeSurfer to over segment larger hippocampus has already been noted in the literature.15,57

Regardless of this over segmentation of HC from FreeSurfer, its volumetric measurements were highly correlated to those obtained from the CNN method and, to a slightly lesser extent, from the NLPB method. These three methods also had larger effect sizes between healthy and AD cohorts that were comparable to each other and significantly different to the medium effect size obtained from the underperforming MALF. The similarity between our CNN and FreeSurfer’s calculation of HVR was further supported by cross-method permutation-based comparison, which found no significant difference in their associations with age, memory or global cognition (Fig. S8).

HVR was proposed as a more robust measure of hippocampal atrophy compared to HCvol. Our experiments showed increased similarity of the HVR calculation compared to HCvol among the different segmentation techniques. Furthermore, the CH:AD HVR effect sizes were larger than CH:AD HCvol effect sizes for all methods tested (Figs 4 & 5). This improvement was particularly more evident on the previously underperforming MALF method, for which the similarity to the other algorithms increased by a magnitude of ~ 0.2 in rho and the CH:AD effect size improved from 0.78 to 1.24 (a 57% improvement) in the Glass’ delta. It would seem that HVR is more useful for poorer quality segmentations.

FreeSurfer's combination of some over segmentation of larger hippocampi with the use of only the inferior portion of the temporal horn of the lateral ventricle resulted in much higher HVR values compared to the three other methods. These greater values led to a more pronounced separation of healthy and atrophied HC, which resulted in the largest effect size of 2.02 between CH and AD across all methods.

There is an expected hippocampal atrophy due to aging even in healthy individuals.58 The age-related declines in hippocampal volume found in our healthy cohort (Fig. 6) were in the upper ranges of what has been found in previous reports.59,60 The rho values for HVR tended to be stronger compared to HCvol across all cohorts and all methods, except for FreeSurfer, as FreeSurfer displayed strong correlations for HCvol with age already. This trend was supported by method-specific permutation-based comparisons (Figs S4-S7), which showed statistically stronger associations for HVR over HCvol with age and global cognition across most segmentation methods—MALF, NLPB, and CNN—while no significant difference was observed for FreeSurfer. Incidentally, for HCvol, FreeSurfer’s tendency to over-segment larger hippocampi and under-segment smaller ones might have played a role in the higher sensitivity of this method in capturing the effect of aging, as the magnitude of this relationship even surpassed HVR’s association with age reported in the original Schoemaker paper.16

While this is the first time that HVR is applied to a clinical sample, the study of hippocampal atrophy in MCI and AD compared to normal aging has been heavily studied over the years 61–64, noting smaller hippocampal volumes compared to controls,11,63,65,66 and even the potential of using hippocampal rates of decline to differentiate stable and progressive MCI.62,67 These results coincide with our slightly stronger associations with age in the MCI cohort compared to the healthy subjects for both hippocampal measures, again with a significant advantage of HVR for all segmentations methods except FreeSurfer. Meanwhile, for the AD patients, HVR showed a statistical advantage only for MALF which, in addition to having the lowest rho values overall, was the only method not sensitive enough to find a significant association between HCvol and age in this cohort, likely because the MALF estimated volumes regress to the mean.

An assumed relationship between hippocampal volume and memory exists, with larger hippocampi associated with better scores on neuropsychological testing. We found such a relation in our MCI subgroup for all segmentation methods, but not in the cognitively normal or AD groups. These results contrasted with previous reported relationships in AD between the delayed subtest of RAVLT with HOC in a Brazilian sample68 and with HCvol within ADNI.69

Further, HVR associations with memory were comparable to those of HCvol among all segmentations and subgroups. While these results contrast with the preliminary report of HVR surpassing an already high association between HCvol and memory measured by the same test, they fit with the heterogeneous and highly variable existing evidence for the relationship between HCvol and memory performance.60 Another potential source of difference between our results and those reported by Schoemaker et al.16 is that our groups were on average a decade older, and greater individual variability in episodic memory has been found for older adults.70–73 Additionally, given the clinical nature of our sample, we also explored the association between our hippocampal measures and a more global evaluation of cognition in the form of the ADAS13, which, in addition to memory, assesses other domains like language and praxis.74 Previous studies have found a relationship between the hippocampus and global cognitive functioning measured with the mini-mental status examination (MMSE) in only AD,75 or AD and MCI but not normal controls.76 Despite these results and the fact that ADAS13 being designed to evaluate cognitive dysfunction in early stages of AD, we did find a significant association with HCvol in our healthy cohorts. For cognitively normal and MCI subjects, the associations with global cognition of both HVR and HCvol were comparable. Contrary to the abundant evidence of the relationship between hippocampus and general cognition in AD,75–78 the correlations in our AD cohort were lower compared to the other subgroups, with only HVR’s reaching statistical significance across all segmentation methods. This advantage of HVR over HCvol was statistically significant for the MALF segmentations of the MCI and AD cohorts, further suggesting that HVR might be particularly superior when only lower quality segmentations are available.

Our study is not without limitations. We chose the ADNI cohort for its extensive clinical and imaging data and its standardization in Alzheimer's research, making it an ideal dataset for validating the CNN-based HVR calculation. Nonetheless, this cohort consists mostly of highly educated white individuals, which may limit the generalizability of our finding. While the inclusion of an internal out-of-sample validation enhances the robustness of our approach within ADNI, additional analyses across demographically diverse and externally sourced datasets are still necessary to fully establish generalizability. Additionally, while out-of-group analyses with other diseases characterized by enlarged ventricles such as schizophrenia, would provide valuable insights into the specificity of HVR as a biomarker, these require distinct hypotheses, methodologies, and clinical expertise that lie beyond the scope of this study. Future research may explore such comparisons to further evaluate the versatility of HVR across various neurodegenerative and psychiatric conditions.

By using only the baseline MRI of ADNI, this study focused on cross-sectional data as a foundational step to validate the proposed segmentation method in a large and diverse sample. We did not assess the longitudinal utility of HVR, such as its ability to track disease progression or predict converstion from MCI to AD, which future work should address. Longitudinal studies will be crucial for understanding hippocampal atrophy dynamics over time and their association with cognitive decline, which we plan to explore in future research. In addition, we did not look into the effects of sex, even though there were substantial sex differences reported in the original paper on HVR.16 This omission was deliberate to avoid increasing the already large number of statistical comparisons in this paper. Nonetheless, we did observe minor laterality effects in segmentation performance, particularly in the MCI and AD groups of the out-of-sample validation dataset, suggesting that laterality may play a more nuanced role that merits further investigation. That being said, these variables are crucial for understanding hippocampal variability; in particular the analysis of the effect of sex or gender in medio-temporal degeneration measured with HVR, which will be the focus of future work.

Another limitation is related to the choice of segmentation methods we evaluated. Given the wide use of the FreeSurfer pipeline, we decided to include it in our selection of evaluated methods even though it was impossible to evaluate its accuracy without its gold standards, and unfair to compare it to our gold standards. Because matching manual segmentations for FreeSurfer were unavailable, we were unable to compute overlap-based performance metrics such as Dice or Kappa for this method, limiting our ability to assess its segmentation accuracy directly. Relatedly, its comparison of calculated HVR values to our trained methods was tainted by different anatomical definitions of the hippocampus and the surrounding ventricles compared to the other methods. Despite these differences, the high correlation to our proposed CNN method together with the comparable CH:AD effect size and associations with age and global cognition support its use as a viable alternative to our proposed CNN method.

## Conclusions

In conclusion, after evaluating various automatic segmentation methods, with Dice Kappas of 0.96 and rho values of 0.99 against high quality manually segmented labels, the CNN method yields the best HC segmentations among the three methods, with results that are comparable to the best in the literature. The high HCvol correlations between FreeSurfer, CNN and NLPB methods show that these methods agree fairly well for the segmentation of the HC, and thus all are viable choices to compute the HVR in large samples. HVR, when compared against HCvol, showed greater consistency across segmentation methods, a larger effect size when distinguishing between individuals with AD and healthy controls, and stronger associations with age and global cognition, particularly improving the performance of the MALF method. These advantages held across clinical groups and generalized well to an out-of-sample validation dataset. These findings support the promise of HVR as a measure of hippocampal integrity, specifically for neurodegenerative disease research and the study of age-related cognitive decline.

# Data availability

MRI, neuropsychological, and demographic data are available from the ADNI database (https://adni.loni.usc.edu).

# Acknowledgements

Data collection and sharing for this project was funded by the Alzheimer's Disease Neuroimaging Initiative (ADNI) (National Institutes of Health Grant U01 AG024904) and DOD ADNI (Department of Defense award number W81XWH-12-2-0012). ADNI is funded by the National Institute on Aging, the National Institute of Biomedical Imaging and Bioengineering, and through generous contributions from the following: AbbVie, Alzheimer’s Association; Alzheimer’s Drug Discovery Foundation; Araclon Biotech; BioClinica, Inc.; Biogen; Bristol-Myers Squibb Company; CereSpir, Inc.; Cogstate; Eisai Inc.; Elan Pharmaceuticals, Inc.; Eli Lilly and Company; EuroImmun; F. Hoffmann-La Roche Ltd and its affiliated company Genentech, Inc.; Fujirebio; GE Healthcare; IXICO Ltd.; Janssen Alzheimer Immunotherapy Research & Development, LLC.; Johnson & Johnson Pharmaceutical Research & Development LLC.; Lumosity; Lundbeck; Merck & Co., Inc.; Meso Scale Diagnostics, LLC.; NeuroRx Research; Neurotrack Technologies; Novartis Pharmaceuticals Corporation; Pfizer Inc.; Piramal Imaging; Servier; Takeda Pharmaceutical Company; and Transition Therapeutics. The Canadian Institutes of Health Research is providing funds to support ADNI clinical sites in Canada. Private sector contributions are facilitated by the Foundation for the National Institutes of Health (www.fnih.org). The grantee organization is the Northern California Institute for Research and Education, and the study is coordinated by the Alzheimer’s Therapeutic Research Institute at the University of Southern California. ADNI data are disseminated by the Laboratory for Neuro Imaging at the University of Southern California.

# Funding

This project has been made possible by the Brain Canada Foundation, through the Canada Brain Research Fund, with the financial support of Health Canada, Canadian Institute of Health Project Grant FRN 165921, and La Fondation Famille Louise & André Charron.

# Competing interests

The authors report no competing interests.

# References

1.	Eichenbaum H. Hippocampus: Cognitive Processes and Neural Representations that Underlie Declarative Memory. Neuron. 2004;44(1):109-120. doi:10.1016/j.neuron.2004.08.028

2.	Campbell S, Marriott M, Nahmias C, MacQueen GM. Lower hippocampal volume in patients suffering from depression: a meta-analysis. Am J Psychiatry. 2004;161(4):598-607. doi:10.1176/appi.ajp.161.4.598

3.	Videbech P, Ravnkilde B. Hippocampal volume and depression: a meta-analysis of MRI studies. Am J Psychiatry. 2004;161(11):1957-1966. doi:10.1176/appi.ajp.161.11.1957

4.	Adriano F, Caltagirone C, Spalletta G. Hippocampal volume reduction in first-episode and chronic schizophrenia: a review and meta-analysis. Neurosci Rev J Bringing Neurobiol Neurol Psychiatry. 2012;18(2):180-200. doi:10.1177/1073858410395147

5.	Morimoto T, Matsuda Y, Matsuoka K, et al. Computer-assisted cognitive remediation therapy increases hippocampal volume in patients with schizophrenia: a randomized controlled trial. BMC Psychiatry. 2018;18(1):83. doi:10.1186/s12888-018-1667-1

6.	Jack CR, Bennett DA, Blennow K, et al. NIA-AA Research Framework: Toward a biological definition of Alzheimer’s disease. Alzheimers Dement. 2018;14(4):535-562. doi:10.1016/j.jalz.2018.02.018

7.	Kandiah N, Zainal NH, Narasimhalu K, et al. Hippocampal volume and white matter disease in the prediction of dementia in Parkinson’s disease. Parkinsonism Relat Disord. 2014;20(11):1203-1208. doi:10.1016/j.parkreldis.2014.08.024

8.	Koenig KA, Sakaie KE, Lowe MJ, et al. Hippocampal volume is related to cognitive decline and fornicial diffusion measures in multiple sclerosis. Magn Reson Imaging. 2014;32(4):354-358. doi:10.1016/j.mri.2013.12.012

9.	Reyes A, Holden HM, Chang YHA, et al. Impaired spatial pattern separation performance in temporal lobe epilepsy is associated with visuospatial memory deficits and hippocampal volume loss. Neuropsychologia. 2018;111:209-215. doi:10.1016/j.neuropsychologia.2018.02.009

10.	Barnes J, Bartlett JW, van de Pol LA, et al. A meta-analysis of hippocampal atrophy rates in Alzheimer’s disease. Neurobiol Aging. 2009;30(11):1711-1723. doi:10.1016/j.neurobiolaging.2008.01.010

11.	Frankó E, Joly O, Alzheimer’s Disease Neuroimaging Initiative. Evaluating Alzheimer’s disease progression using rate of regional hippocampal atrophy. PloS One. 2013;8(8):e71354. doi:10.1371/journal.pone.0071354

12.	Henneman WJP, Sluimer JD, Barnes J, et al. Hippocampal atrophy rates in Alzheimer disease: added value over whole brain volume measures. Neurology. 2009;72(11):999-1007. doi:10.1212/01.wnl.0000344568.09360.31

13.	Shi F, Liu B, Zhou Y, Yu C, Jiang T. Hippocampal volume and asymmetry in mild cognitive impairment and Alzheimer’s disease: Meta-analyses of MRI studies. Hippocampus. 2009;19(11):1055-1064. doi:10.1002/hipo.20573

14.	Coupé P, Manjón JV, Fonov V, Pruessner J, Robles M, Collins DL. Patch-based segmentation using expert priors: Application to hippocampus and ventricle segmentation. NeuroImage. 2011;54(2):940-954. doi:10.1016/j.neuroimage.2010.09.018

15.	Zandifar A, Fonov V, Coupé P, Pruessner J, Collins DL. A comparison of accurate automatic hippocampal segmentation methods. NeuroImage. 2017;155:383-393. doi:10.1016/j.neuroimage.2017.04.018

16.	Schoemaker D, Buss C, Pietrantonio S, et al. The hippocampal-to-ventricle ratio (HVR): Presentation of a manual segmentation protocol and preliminary evidence. NeuroImage. 2019;203:116108. doi:10.1016/j.neuroimage.2019.116108

17.	Dill V, Franco AR, Pinho MS. Automated Methods for Hippocampus Segmentation: the Evolution and a Review of the State of the Art. Neuroinformatics. 2015;13(2):133-150. doi:10.1007/s12021-014-9243-4

18.	Yi P a. N, Jin LIU, Xu T, Wei L a. N, Rui GUO. Hippocampal Segmentation in Brain MRI Images Using Machine Learning Methods: A Survey. Chin J Electron. 2021;30(5):793-814. doi:10.1049/cje.2021.06.002

19.	Collins DL, Pruessner JC. Towards accurate, automatic segmentation of the hippocampus and amygdala from MRI by augmenting ANIMAL with a template library and label fusion. NeuroImage. 2010;52(4):1355-1366. doi:10.1016/j.neuroimage.2010.04.193

20.	Fonov V, Coupé P, Eskildsen SF, Manjon JV, Collins DL. Multi-atlas labeling with population-specific template and non-local patch-based label fusion. In: Vol 15. ; 2012:4.

21.	Fischl B, Salat DH, Busa E, et al. Whole Brain Segmentation: Automated Labeling of Neuroanatomical Structures in the Human Brain. Neuron. 2002;33(3):341-355. doi:10.1016/S0896-6273(02)00569-X

22.	Ronneberger O, Fischer P, Brox T. U-Net: Convolutional Networks for Biomedical Image Segmentation. In: Navab N, Hornegger J, Wells WM, Frangi AF, eds. Medical Image Computing and Computer-Assisted Intervention – MICCAI 2015. Lecture Notes in Computer Science. Springer International Publishing; 2015:234-241. doi:10.1007/978-3-319-24574-4_28

23.	Lupien SJ, Evans A, Lord C, et al. Hippocampal volume is as variable in young as in older adults: Implications for the notion of hippocampal atrophy in humans. NeuroImage. 2007;34(2):479-485. doi:10.1016/j.neuroimage.2006.09.041

24.	Nobis L, Manohar SG, Smith SM, et al. Hippocampal volume across age: Nomograms derived from over 19,700 people in UK Biobank. NeuroImage Clin. 2019;23:101904. doi:10.1016/j.nicl.2019.101904

25.	Risacher SL, Anderson WH, Charil A, et al. Alzheimer disease brain atrophy subtypes are associated with cognition and rate of decline. Neurology. 2017;89(21):2176-2186. doi:10.1212/WNL.0000000000004670

26.	Whitwell JL, Dickson DW, Murray ME, et al. Neuroimaging correlates of pathologically defined subtypes of Alzheimer’s disease: a case-control study. Lancet Neurol. 2012;11(10):868-877. doi:10.1016/S1474-4422(12)70200-4

27.	Apostolova LG, Dutton RA, Dinov ID, et al. Conversion of mild cognitive impairment to Alzheimer disease predicted by hippocampal atrophy maps. Arch Neurol. 2006;63(5):693-699. doi:10.1001/archneur.63.5.693

28.	Apostolova LG, Babakchanian S, Hwang KS, et al. Ventricular enlargement and its clinical correlates in the imaging cohort from the adcs mci donepezil/vitamin e study. Alzheimer Dis Assoc Disord. 2013;27(2):174-181. doi:10.1097/WAD.0b013e3182677b3d

29.	Dalaker TO, Zivadinov R, Ramasamy DP, et al. Ventricular enlargement and mild cognitive impairment in early Parkinson’s disease. Mov Disord. 2011;26(2):297-301. doi:10.1002/mds.23443

30.	Mak E, Su L, Williams GB, et al. Longitudinal whole-brain atrophy and ventricular enlargement in nondemented Parkinson’s disease. Neurobiol Aging. 2017;55:78-90. doi:10.1016/j.neurobiolaging.2017.03.012

31.	Seif M, Ziegler G, Freund P. Progressive Ventricles Enlargement and Cerebrospinal Fluid Volume Increases as a Marker of Neurodegeneration in Patients with Spinal Cord Injury: A Longitudinal Magnetic Resonance Imaging Study. J Neurotrauma. 2018;35(24):2941-2946. doi:10.1089/neu.2017.5522

32.	Heister D, Brewer JB, Magda S, Blennow K, McEvoy LK, Alzheimer’s Disease Neuroimaging Initiative. Predicting MCI outcome with clinically available MRI and CSF biomarkers. Neurology. 2011;77(17):1619-1628. doi:10.1212/WNL.0b013e3182343314

33.	Pruessner J, Li LM, Serles W, et al. Volumetry of hippocampus and amygdala with high-resolution MRI and three-dimensional analysis software: minimizing the discrepancies between laboratories. Cereb Cortex. Published online 2000. doi:10.1093/CERCOR/10.4.433

34.	Coupe P, Yger P, Prima S, Hellier P, Kervrann C, Barillot C. An optimized blockwise nonlocal means denoising filter for 3-D magnetic resonance images. IEEE Trans Med Imaging. 2008;27(4):425-441. doi:10.1109/TMI.2007.906087

35.	Sled JG, Zijdenbos AP, Evans AC. A nonparametric method for automatic correction of intensity nonuniformity in mri data. IEEE Trans Med Imaging. 1998;17(1):87-97. doi:10.1109/42.668698

36.	Fonov V, Evans AC, Botteron K, et al. Unbiased average age-appropriate atlases for pediatric studies. NeuroImage. 2011;54(1):313-327. doi:10.1016/j.neuroimage.2010.07.033

37.	Collins DL, Holmes CJ, Peters TM, Evans AC. Automatic 3-D model-based neuroanatomical segmentation. Hum Brain Mapp. 1995;3(3):190-208. doi:10.1002/hbm.460030304

38.	Collins DL, Evans AC. Animal: Validation and application of nonlinear registration-based segmentation. Int J Pattern Recognit Artif Intell. 1997;11(8):1271-1294. doi:10.1142/s0218001497000597

39.	Shao J. Linear Model Selection by Cross-validation. J Am Stat Assoc. 1993;88(422):486-494. doi:10.1080/01621459.1993.10476299

40.	Wang H, Pouch A, Takabe M, et al. Multi-atlas segmentation with robust label transfer and label fusion. Inf Process Med Imaging Proc Conf. 2013;23:548-559. doi:10.1007/978-3-642-38868-2_46

41.	Fonov V, Rosa-Neto P, Collins DL. 3D MRI Brain Tumour Segmentation with Autoencoder Regularization and Hausdorff Distance Loss Function. In: Crimi A, Bakas S, eds. Brainlesion: Glioma, Multiple Sclerosis, Stroke and Traumatic Brain Injuries. Lecture Notes in Computer Science. Springer International Publishing; 2022:324-332. doi:10.1007/978-3-031-08999-2_27

42.	Wilcox R. Chapter 6 - Some Multivariate Methods. In: Wilcox R, ed. Introduction to Robust Estimation and Hypothesis Testing (Fourth Edition). Statistical Modeling and Decision Science. Academic Press; 2017:235-318. doi:10.1016/B978-0-12-804733-0.00006-8

43.	Mair P, Wilcox R. Robust statistical methods in R using the WRS2 package. Behav Res Methods. 2020;52(2):464-488. doi:10.3758/s13428-019-01246-w

44.	Benjamini Y, Yekutieli D. The control of the false discovery rate in multiple testing under dependency. Ann Stat. 2001;29(4):1165-1188. doi:10.1214/aos/1013699998

45.	Efron B. Better Bootstrap Confidence Intervals. J Am Stat Assoc. 1987;82(397):171-185. doi:10.1080/01621459.1987.10478410

46.	Kirby KN, Gerlanc D. BootES: An R package for bootstrap confidence intervals on effect sizes. Behav Res Methods. 2013;45(4):905-927. doi:10.3758/s13428-013-0330-5

47.	Brusini I, Lindberg O, Muehlboeck JS, Smedby Ö, Westman E, Wang C. Shape Information Improves the Cross-Cohort Performance of Deep Learning-Based Segmentation of the Hippocampus. Front Neurosci. 2020;14. Accessed October 17, 2023. https://www.frontiersin.org/articles/10.3389/fnins.2020.00015

48.	Cao L, Li L, Zheng J, et al. Multi-task neural networks for joint hippocampus segmentation and clinical score regression. Multimed Tools Appl. 2018;77(22):29669-29686. doi:10.1007/s11042-017-5581-1

49.	Goubran M, Ntiri EE, Akhavein H, et al. Hippocampal segmentation for brains with extensive atrophy using three-dimensional convolutional neural networks. Hum Brain Mapp. 2020;41(2):291-308. doi:https://doi.org/10.1002/hbm.24811

50.	Liu M, Li F, Yan H, et al. A multi-model deep convolutional neural network for automatic hippocampus segmentation and classification in Alzheimer’s disease. NeuroImage. 2020;208:116459. doi:10.1016/j.neuroimage.2019.116459

51.	Yao W, Wang S, Fu H. Hippocampus Segmentation in MRI Using Side U-Net Model. In: Gedeon T, Wong KW, Lee M, eds. Neural Information Processing. Lecture Notes in Computer Science. Springer International Publishing; 2019:143-150. doi:10.1007/978-3-030-36718-3_12

52.	Yi P, Jin L, Xu T, Wei L, Rui G. Hippocampal Segmentation in Brain MRI Images Using Machine Learning Methods: A Survey. Chin J Electron. 2021;30(5):793-814. doi:10.1049/cje.2021.06.002

53.	Chen D, Liu W, Huang Y, Tong T, Yu Y. Enhancement Mask for Hippocampus Detection and Segmentation. Published online February 12, 2019. doi:10.48550/arXiv.1902.04244

54.	Xie Z, Gillies D. Near Real-time Hippocampus Segmentation Using Patch-based Canonical Neural Network. Published online July 15, 2018. doi:10.48550/arXiv.1807.05482

55.	Amoroso N, Errico R, Bruno S, et al. Hippocampal unified multi-atlas network (HUMAN): protocol and scale validation of a novel segmentation tool. Phys Med Biol. 2015;60(22):8851. doi:10.1088/0031-9155/60/22/8851

56.	Klapwijk ET, van de Kamp F, van der Meulen M, Peters S, Wierenga LM. Qoala-T: A supervised-learning tool for quality control of FreeSurfer segmented MRI data. NeuroImage. 2019;189:116-129. doi:10.1016/j.neuroimage.2019.01.014

57.	Pipitone J, Park MTM, Winterburn J, et al. Multi-atlas segmentation of the whole hippocampus and subfields using multiple automatically generated templates. NeuroImage. 2014;101:494-512. doi:10.1016/j.neuroimage.2014.04.054

58.	Bettio LEB, Rajendran L, Gil-Mohapel J. The effects of aging in the hippocampus and cognitive decline. Neurosci Biobehav Rev. 2017;79:66-86. doi:10.1016/j.neubiorev.2017.04.030

59.	Raz N. Aging of the brain and its impact on cognitive performance: Integration of structural and functional findings. Published online 2000. Accessed October 24, 2023. https://psycnet.apa.org/record/2000-07017-001

60.	Van Petten C. Relationship between hippocampal volume and memory ability in healthy individuals across the lifespan: review and meta-analysis. Neuropsychologia. 2004;42(10):1394-1413. doi:10.1016/j.neuropsychologia.2004.04.006

61.	den Heijer T, van der Lijn F, Koudstaal PJ, et al. A 10-year follow-up of hippocampal volume on magnetic resonance imaging in early dementia and cognitive decline. Brain J Neurol. 2010;133(Pt 4):1163-1172. doi:10.1093/brain/awq048

62.	Ikram MA, Vrooman HA, Vernooij MW, et al. Brain tissue volumes in relation to cognitive function and risk of dementia. Neurobiol Aging. 2010;31(3):378-386. doi:10.1016/j.neurobiolaging.2008.04.008

63.	Jack CR, Petersen RC, Xu YC, et al. Medial Temporal Atrophy on MRI in Normal Aging and Very Mild Alzheimer’s Disease. Neurology. 1997;49(3):786-794.

64.	Pol LA van de, Hensel A, Barkhof F, Gertz HJ, Scheltens P, Flier WM van der. Hippocampal atrophy in Alzheimer disease: Age matters. Neurology. 2006;66(2):236-238. doi:10.1212/01.wnl.0000194240.47892.4d

65.	Jack CR, Petersen RC, Xu Y, et al. Rates of Hippocampal Atrophy Correlate with Change in Clinical Status in Aging and AD. Neurology. 2000;55(4):484-489.

66.	Morra JH, Tu Z, Apostolova LG, et al. Automated mapping of hippocampal atrophy in 1-year repeat MRI data from 490 subjects with Alzheimer’s disease, mild cognitive impairment, and elderly controls. NeuroImage. 2009;45(1 Suppl):S3-15. doi:10.1016/j.neuroimage.2008.10.043

67.	Wang PN, Liu HC, Lirng JF, Lin KN, Wu ZA. Accelerated hippocampal atrophy rates in stable and progressive amnestic mild cognitive impairment. Psychiatry Res Neuroimaging. 2009;171(3):221-231. doi:10.1016/j.pscychresns.2008.05.002

68.	Sudo FK, Souza AS de, Drummond C, et al. Inter-method and anatomical correlates of episodic memory tests in the Alzheimer’s Disease spectrum. PLOS ONE. 2019;14(10):e0223731. doi:10.1371/journal.pone.0223731

69.	Wang X, Zhou W, Ye T, Lin X, Zhang J, the Alzheimer’s Disease Neuroimaging Initiative. The Relationship Between Hippocampal Volumes and Delayed Recall Is Modified by APOE ε4 in Mild Cognitive Impairment. Front Aging Neurosci. 2019;11. Accessed November 20, 2023. https://www.frontiersin.org/articles/10.3389/fnagi.2019.00036

70.	Morse CK. Does Variability Increase With Age? An Archival Study of Cognitive Measures. Psychol Aging. 1993;8(2):156-164. doi:10.1037/0882-7974.8.2.156

71.	Nelson EA, Dannefer D. Aged Heterogeneity: Fact or Fiction? The Fate of Diversity in Gerontological Research1. The Gerontologist. 1992;32(1):17-23. doi:10.1093/geront/32.1.17

72.	Verhaeghen P, Marcoen A. Memory Aging and the Increasing Diversity Hypothesis: Empirical Evidence. Psychol Belg. 1990;30(1-2):167-176. doi:10.5334/PB.807

73.	Wilson RS, Beckett LA, Barnes LL, et al. Individual differences in rates of change in cognitive abilities of older persons. Psychol Aging. 2002;17(2):179-193. doi:10.1037/0882-7974.17.2.179

74.	Kueper JK, Speechley M, Montero-Odasso M. The Alzheimer’s Disease Assessment Scale-Cognitive Subscale (ADAS-Cog): Modifications and Responsiveness in Pre-Dementia Populations. A Narrative Review. J Alzheimers Dis JAD. 2018;63(2):423-444. doi:10.3233/JAD-170991

75.	Vipin A, Foo HJL, Lim JKW, et al. Regional White Matter Hyperintensity Influences Grey Matter Atrophy in Mild Cognitive Impairment. J Alzheimers Dis JAD. 2018;66(2):533-549. doi:10.3233/JAD-180280

76.	Peng GP, Feng Z, He FP, et al. Correlation of hippocampal volume and cognitive performances in patients with either mild cognitive impairment or Alzheimer’s disease. CNS Neurosci Ther. 2015;21(1):15-22. doi:10.1111/cns.12317

77.	Morrison C, Dadar M, Shafiee N, Collins DL. Hippocampal grading provides higher classification accuracy for those in the AD trajectory than hippocampal volume. Hum Brain Mapp. 2023;44(12):4623-4633. doi:10.1002/hbm.26407

78.	Morrison C, Dadar M, Shafiee N, Collins DL, For Alzheimer’s Disease Neuroimaging Initiative. The use of hippocampal grading as a biomarker for preclinical and prodromal Alzheimer’s disease. Hum Brain Mapp. 2023;44(8):3147-3157. doi:10.1002/hbm.26269